AKL-PT1 Calibration Procedure
1. Note date, time, and environmental conditions on calibration report
2. Ensure all equipment being used has current, valid calibration and note serial numbers on calibration report
3. Attach SMA(m) test leads to VNA and perform SOLT calibration